## SOC HEM
ICAP Standards of Care (SOC) for hematology Laboratory Services (From xxx-xxx,2011)
ICAP Standards of Care (SOC) for Hematololgy Laboratory Services | Suggested Measure of Standard | Numerator | Possible Sources of information | Possible Actions |  |  | For indicators not meeting the standard
|  | Denominator |  | Evaluate this month (≤90) | Evaluate as part of next three month work plan (91-94%) | On Target (≥95) | Root cause for not meeting the standard | Action item/ improvement plan & responsible body | Implementation timeline
Result of Quarterly measure of Lab service
Turnaround time
1.Hematology tests should be performed within expected turnaround time* | Proportion of hematology tests performed within expected turnaround time* in last quarter | # of hematology tests performed within expected turnaround time in last quarter | Sample of 100 charts; lab registers
Total # of hematology tests performed in last quarter
Laboratory procurement and inventory
2. Lab should have adequate supply of kits and reagents needed for hematology tests | Proportion of work days with hematology test service interrupted due to stock outs during last quarter | # of days without hematology service interruption due to stock out of kits or reagents during last quarter | Lab registers; Lab & Clinical staff interviews
Total # of working days during same quarter
Maintenance
3. All hematology lab equipment maintained and repaired in timely fashion | Proportion of work days with any hematology test service interrupted due to equipment malfunction during a certain time period | # of days without hematology service interruption due to equipment malfunction | Lab registers; Lab & Clinical staff interviews
Total # of working days during same time period
QA System
4. Lab performs daily internal quality controls on hematological assays | Proportion of hematological assay days that performed daily control | # of days internal quality controls performed | Lab registers; lab staff interviews
Total # of days hematology tests performed in last quarter
Sample collection and integrity
5. Sample rejection criteria should be used consistently to ensure proper sample collection and handling | Proportion of samples received with required sample integrity for hematology testing | Total # of proper samples approved for hematology testing | Lab registers; job aides
Total # of samples received for hematology testing
Sample collection and requisition form
6. All samples should arrive to the lab reception with a completely filled request form | Proportion of samples received with a completely filled request form | # of samples with completely filled requested form | Request forms; Reception Registers; Lab/site registers
Total # of samples received for the previous month reporting period
*expected turnaround time will be defined for the coming quarter in each site